Nick

1089 Route 12A

4

Permit # 2016-xx

Map/Lot

1-1/2 story addition porch with second floor

# 06-21-16	Permit - applying, 1089 Route 12A. Met with Tim and his wife to discuss plans to add an addition to the rear of the house that will be an enclosed porch with or without a second floor. They finally decided to have the second floor above the porch. The upstairs bedroom goes from the front to the back of the house and the rear window will not go outside for egress and the front window is too small and will have to be changed. Tim will draw up plans to submit with permit application.

# Time 1.0

07-19-16	Permit - applying, 1089 Route 12A. Inspected the wall framing and the ceiling framing for the addition. June report has information about my meeting with him prior to permit application.

Time 0.3

# David H Lersch

# Plainfield Building Inspector