Hazel Grizwold

11 Pierce Road

298-8374

Permit # 2017-17

Map/Lot 218/8

replace 200 amp service with new service

# 05-24-17	Permit 2017-17, 11 Pierce Road. Electrician called and said they would be ready for me to inspect the change-over to the new 200 ampere electrical service. Meter panel mounted and conduit up the gable end of the house, still needed to mount electrical panel, run cables and move circuits to new panel.

# Time 0.6

# 05-24-17	Permit 2017-17, 11 Pierce Road. Electrician called and said they are ready as Liberty Utilities would be there at 1:30PM. Everything was ready for Liberty to connect service, emailed Liberty that it was okay to reconnect service. I will issue a Completion Certificate.

# Time 0.6

# David H Lersch

# Plainfield Building Inspector